BRAIN TUMOR DETECTION

Medical-Grade AI System

Complete Project Framework & Implementation Guide

Datasets: BraTS | Figshare | Mendeley

Architecture: 2.5D Multi-View Fusion + SNN + Explainable AI

Version 1.0  |  2025

# SECTION 1 — DATASET OVERVIEW & MERGE STRATEGY

## 1.1  Dataset Summary

| Dataset | Type | Format | Classes | Key Notes |
| --- | --- | --- | --- | --- |
| BraTS | 3D MRI | NIfTI (.nii.gz) | GBM, LGG | 4 modalities: T1, T1ce, T2, FLAIR |
| Figshare | 2D MRI | JPG + CSV labels | Glioma, Meningioma, Pituitary, No Tumor | You divided using CSV — valid |
| Mendeley | 2D MRI | JPG (pre-divided) | Glioma, Meningioma, Pituitary, No Tumor | Already distributed into folders |

## 1.2  Merge Plan (Confirmed Valid)

- Figshare (CSV-divided) + Mendeley (pre-divided) = Same 4 classes. Direct merge is valid.

- Both datasets share same label space: Glioma | Meningioma | Pituitary | No Tumor

- Use merged dataset for Stage 1 training (2D classifier)

- Use BraTS independently for Stage 2 fine-tuning and segmentation

## 1.3  Pre-Merge Checklist

- Run MD5 hash check to detect duplicate images across both datasets

- Count per-class samples after merge — apply weighted sampling if imbalanced

- Standardize resolution: resize all images to 224x224

- Convert grayscale images to 3-channel (RGB) consistently

- Verify image planes are consistent (axial preferred for 2D data)

# Duplicate check

import hashlib

def get_hash(path):

with open(path, 'rb') as f: return hashlib.md5(f.read()).hexdigest()

# Class distribution check

from collections import Counter

print(Counter(all_labels))

# SECTION 2 — SYSTEM ARCHITECTURE

## 2.1  The Core Idea: 2.5D Doctor-View Fusion

Your concept of training like a doctor reading MRI is medically validated. Radiologists always read MRI in 3 planes simultaneously: Axial, Sagittal, and Coronal. This is implemented as 2.5D Multi-View Fusion.

BraTS 3D Volume (NIfTI)

|

v

Slice Extractor

/      |      \

Axial  Sagittal  Coronal   <-- 3 separate 2D CNNs

\      |      /

Cross-Attention Fusion

|

3D Context Achieved

## 2.2  Full Pipeline Architecture

| Layer | Component | Purpose |
| --- | --- | --- |
| INPUT | BraTS NIfTI + Figshare/Mendeley JPG | Raw data ingestion |
| PREPROCESSING | N4ITK + Skull Strip + BM3D + Normalization | Medical-grade image preparation |
| BACKBONE A | EfficientNet-B4 or ConvNeXt-Small (2D) | Local texture features from 2D slices |
| BACKBONE B | Swin-UNet Transformer | Global spatial relationships |
| FUSION | Cross-Attention Layer | Combine 2D and 3D context |
| HEAD 1 | Classification Head | Tumor type + confidence score |
| HEAD 2 | Segmentation Head (U-Net decoder) | Pixel-level tumor mask |
| HEAD 3 | Progression Head (Siamese / LSTM) | Growth detection across scans |
| SNN LAYER | SpikingJelly ANN-to-SNN conversion | Energy-efficient final inference |
| OUTPUT | Report Generator + Visualization | Clinical report + Grad-CAM overlay |

## 2.3  Multi-Task Loss Function

Total_Loss = (lambda1 * CrossEntropy_Loss)   # Classification

+ (lambda2 * Dice_Loss)            # Segmentation

+ (lambda3 * Focal_Loss)           # Handle imbalance

Recommended starting weights:

lambda1 = 1.0,  lambda2 = 1.0,  lambda3 = 0.5

# SECTION 3 — PREPROCESSING PIPELINE

## 3.1  For 2D Data (Figshare + Mendeley)

| Step | Operation | Library | Why |
| --- | --- | --- | --- |
| 1 | Resize to 224x224 | OpenCV / PIL | Standardize input size |
| 2 | Convert to 3-channel RGB | OpenCV | Backbone compatibility |
| 3 | Noise removal (Gaussian or BM3D) | OpenCV / bm3d | Remove scanner noise |
| 4 | Z-score normalization | NumPy | Zero mean, unit variance |
| 5 | Data augmentation | Albumentations | Rotation, flip, elastic deform |
| 6 | CLAHE (contrast enhancement) | OpenCV | Improve low contrast MRIs |

## 3.2  For 3D Data (BraTS)

| Step | Operation | Library | Why |
| --- | --- | --- | --- |
| 1 | N4ITK Bias Field Correction | SimpleITK | Remove MRI field inhomogeneity |
| 2 | Skull Stripping | HD-BET | Remove non-brain tissue |
| 3 | Co-registration (all 4 modalities) | ANTsPy | Align T1/T1ce/T2/FLAIR |
| 4 | Atlas registration (MNI152) | ANTsPy | Standardize brain space |
| 5 | BM3D / Non-local Means Denoising | SimpleITK | Noise removal |
| 6 | Per-modality Z-score normalization | NumPy | Normalize per patient |
| 7 | Extract slices (Axial/Sagittal/Coronal) | nibabel | 2.5D multi-view prep |

# SECTION 4 — TRAINING STRATEGY (3 STAGES)

## Stage 1 — 2D Baseline (Figshare + Mendeley merged)

- Multi-class classification (4 classes): Task

- EfficientNet-B4 pretrained on ImageNet: Model

- CrossEntropy + Focal Loss: Loss

- 50-100: Epochs

- AdamW with cosine annealing scheduler: Optimizer

- Learn what each tumor type looks like in 2D MRI: Goal

## Stage 2 — BraTS 2D Slice Fine-tuning

- Classification + Segmentation: Task

- Load Stage 1 encoder weights, freeze first 3 layers initially: Transfer

- Segmentation decoder (U-Net style), 2.5D multi-view fusion module: Add

- Combined: CE + Dice + Focal: Loss

- 100-150: Epochs

- Add segmentation ability and 3D context understanding: Goal

## Stage 3 — Full Multi-Task Joint Training

- Unfreeze all layers, reduce learning rate (1e-5)

- Add progression head (Siamese network for temporal comparison)

- Add SNN final classifier layer

- Add calibration (temperature scaling)

- 50 fine-tuning epochs: Epochs

- Medical-grade calibrated system with all features active: Goal

Stage 1 (Weeks 4-6):  Figshare + Mendeley  -->  2D classifier

Stage 2 (Weeks 7-9):  BraTS slices         -->  Classifier + Segmentation

Stage 3 (Weeks 10-12): All heads + SNN      -->  Full system

# SECTION 5 — NOVELTY MODULES IMPLEMENTATION

## 5.1  Tumor Size Estimation

Uses the segmentation mask combined with BraTS voxel spacing metadata from the NIfTI header.

voxel_vol = voxel_x * voxel_y * voxel_z  # from NIfTI header in mm

tumor_voxels = np.sum(predicted_mask > 0)

tumor_volume_mm3 = tumor_voxels * voxel_vol

tumor_volume_cm3 = tumor_volume_mm3 / 1000

# Clinical size grading

if tumor_volume_cm3 < 10:   grade = 'Small'

elif tumor_volume_cm3 < 30:  grade = 'Medium'

else:                         grade = 'Large'

## 5.2  Confidence-Driven Explainable AI

Combines 3 techniques: Grad-CAM++ (what model sees), Monte Carlo Dropout (uncertainty), and Temperature Scaling (calibration).

# Monte Carlo Dropout uncertainty

model.train()  # keep dropout ON during inference

preds = torch.stack([model(x) for _ in range(50)])

mean_pred = preds.mean(0)

uncertainty = preds.std(0)

# Temperature scaling (post-training calibration)

calibrated_logits = logits / temperature  # tune T on val set

## 5.3  Visualization for Brain MRI

- 3-plane viewer: Axial / Sagittal / Coronal with tumor mask overlay

- 3D surface rendering using marching cubes from segmentation mask

- Grad-CAM heatmap overlaid on original MRI slice

- Libraries: VTK, Plotly, napari for interactive 3D

from skimage import measure

verts, faces, _, _ = measure.marching_cubes(tumor_mask, level=0.5)

# Render using Plotly Mesh3d for interactive output

## 5.4  Image Quality Enhancement

Full medical-grade preprocessing (see Section 3). Key additions over basic noise removal:

- N4ITK Bias Field Correction: Removes MRI field inhomogeneity — not optional for BraTS

- CLAHE: Contrast-limited adaptive histogram equalization for 2D images

- Skull stripping: Removes irrelevant non-brain tissue that confuses the model

## 5.5  SNN Integration

Brain-inspired network for brain tumor detection — strong novelty narrative. Use as final classifier after CNN/Transformer feature extraction for best accuracy trade-off.

# Strategy: ANN-to-SNN conversion using SpikingJelly

from spikingjelly.activation_based import ann2snn

# Train your CNN normally first

# Convert the classification head to SNN

snn_model = ann2snn.Converter(model, input=sample_input)

# Advantage: energy-efficient inference on edge medical devices

## 5.6  Tumor Progression Monitoring

Siamese network compares two scans from different timepoints to detect growth.

Scan T=0  -->  Encoder  -->  Features_A  -->\

Siamese head --> Growth Report

Scan T=n  -->  Encoder  -->  Features_B  -->/

Output:

Volume change: +12.3 cm3 (+23% in 90 days)

Growth rate: 0.14 cm3/day

Status: ACTIVE GROWTH -- urgent review recommended

# SECTION 6 — EVALUATION & MEDICAL METRICS

## 6.1  Required Performance Targets

| Metric | Target | How to Compute |
| --- | --- | --- |
| Sensitivity (Recall) | >= 90% | TP / (TP + FN) per class |
| Specificity | >= 90% | TN / (TN + FP) |
| Dice Score (Segmentation) | >= 0.85 | 2¦A∩B¦ / (¦A¦+¦B¦) |
| AUC-ROC | >= 0.95 | sklearn.metrics.roc_auc_score |
| F1-Score (macro) | >= 0.90 | Harmonic mean precision/recall |
| ECE (Calibration Error) | < 0.05 | Expected Calibration Error |
| Hausdorff Distance 95 | < 5mm | Surface distance metric (BraTS standard) |

## 6.2  Validation Strategy

- 5-fold cross-validation on merged 2D dataset

- Leave-one-institution-out validation on BraTS

- External validation: test on a dataset NOT used in training

- Bias analysis: check performance across tumor grade, brain region

- Failure mode analysis: document and explain wrong predictions

## 6.3  BraTS-Specific Metrics

- Whole Tumor (WT) Dice

- Tumor Core (TC) Dice

- Enhancing Tumor (ET) Dice

- Hausdorff95 for each region

These are the official BraTS challenge evaluation metrics — using them makes your results directly comparable to published literature.

# SECTION 7 — TECH STACK

| Category | Tools |
| --- | --- |
| Data Handling | nibabel, SimpleITK, pydicom, ANTsPy |
| Preprocessing | HD-BET (skull strip), N4ITK, OpenCV, albumentations, bm3d |
| Deep Learning | PyTorch + MONAI (medical imaging framework — use this!) |
| Transformers | Swin-UNet, ViT (via timm library) |
| SNN | SpikingJelly (ann2snn converter) |
| Explainability | pytorch-grad-cam, SHAP, captum (Integrated Gradients) |
| 3D Visualization | VTK, Plotly, napari, scikit-image (marching cubes) |
| Calibration | netcal, sklearn (calibration_curve) |
| Experiment Tracking | Weights & Biases (wandb) or MLflow |
| Deployment | FastAPI + Docker + ONNX export |
| Report Generation | ReportLab (PDF auto-report) |

IMPORTANT: Use MONAI as your core framework. It is the standard PyTorch library for medical imaging with built-in BraTS loaders, medical augmentations, Dice loss, and HD95 metrics.

# SECTION 8 — PROJECT PHASES & TIMELINE

| Phase | Weeks | Task | Deliverable |
| --- | --- | --- | --- |
| 1 | 1-3 | Data preparation + preprocessing pipeline | Clean merged dataset + BraTS preprocessed |
| 2 | 4-6 | 2D baseline model (Figshare + Mendeley) | Trained 4-class classifier, ~90% accuracy |
| 3 | 7-9 | BraTS integration + 2.5D multi-view fusion | Segmentation model, Dice >= 0.85 |
| 4 | 10-12 | Tumor size module + progression module | Volume estimation + growth detection |
| 5 | 13-14 | SNN integration + explainability layer | SNN classifier + Grad-CAM output |
| 6 | 15-16 | Visualization UI + report generator | Clinical report PDF + interactive viewer |
| 7 | 17-18 | Final evaluation + clinical metric reporting | Paper-ready results table |

# SECTION 9 — CLINICAL OUTPUT FORMAT

## 9.1  Auto-Generated Radiology Report

This is the feature that makes your system look and function like a real clinical tool.

==================================================

AUTOMATED NEURO-ONCOLOGY REPORT

==================================================

Patient Scan   : MRI Brain (T1ce + FLAIR)

Tumor Type     : High-Grade Glioma (GBM) -- 91% confidence

Location       : Right temporal lobe

Volume         : 18.4 cm3  (Large)

Enhancing Core : 6.2 cm3

Progression    : UP 14% vs prior scan (90 days ago)

Growth Rate    : 0.14 cm3/day

AI Confidence  : HIGH (uncertainty band: +/-3%)

Attention Map  : [Grad-CAM overlay saved]

--------------------------------------------------

WARNING: AI-assisted report only.

Final diagnosis must be confirmed by a radiologist.

==================================================

## 9.2  Confidence Display Logic

if confidence >= 85% and uncertainty <= 5%:

display = 'HIGH CONFIDENCE: 91% +/- 3%'

elif confidence >= 70%:

display = 'MODERATE CONFIDENCE: 74% +/- 9% -- verify recommended'

else:

display = 'LOW CONFIDENCE: 61% +/- 18% -- refer to specialist'

# SECTION 10 — MEDICAL-GRADE REQUIREMENTS

| Requirement | What to Do |
| --- | --- |
| Performance standards | Sensitivity >= 90%, Specificity >= 90%, Dice >= 0.85, AUC >= 0.95 |
| Calibrated probabilities | Must use temperature scaling. Raw softmax is NOT reliable for medical use. |
| DICOM compatibility | Use pydicom for real hospital PACS system integration |
| Reproducibility | Fix random seeds, log all hyperparameters in W&B or MLflow |
| Bias audit | Test across tumor grade (LGG vs GBM), age groups, brain regions |
| Uncertainty flag | Always display confidence interval, not just a single number |
| Failure mode doc | Document what the model gets wrong and under what conditions |
| Disclaimer | Every output must say: AI-assisted, confirm with radiologist |

# QUICK REFERENCE SUMMARY

| What | How |
| --- | --- |
| 2D Dataset merge | Figshare (CSV-split) + Mendeley (pre-divided) -- same 4 classes, valid merge |
| 3D Training | BraTS: extract Axial/Sagittal/Coronal slices -- 2.5D fusion = doctor view |
| Backbone | EfficientNet-B4 + Swin-UNet hybrid |
| SNN | SpikingJelly ANN-to-SNN on classification head |
| Explainability | Grad-CAM++ + MC Dropout + Temperature Scaling |
| Segmentation | U-Net decoder head, Dice Loss, evaluate with HD95 |
| Tumor size | Voxel count x NIfTI spacing = volume in cm3 |
| Progression | Siamese network across timepoints |
| Core framework | PyTorch + MONAI |
| Output | PDF clinical report + 3-plane viewer + 3D render |

This framework covers all 8 novelty points, implements the 2.5D doctor-view strategy, and meets the requirements for a medical-grade research product.